## Slide 1: SANS in McStas

## Slide 2: Agenda
A quick discussion of the SANS technique
Sample models for SANS in McStas

## Slide 3
Small angle scattering SANS
SANS method can be used for many types of material
Often: Molecule + Liquid (buffer solution)
Isotropic scattering

## Slide 4
SANS
Small Angle Neutron Scattering
Elastic Scattering
Small angle -> small q -> big r
Gain information on the molecular scale 10-100Å
Low signal to noise
Contrast method
Instrument requirements: good collimation, long flight distance after detector.

## Slide 5
SANS other samples
SANS_AnySamp.comp
SANS_DebyeS.comp
SANSCylinders.comp
SANSEllipticCylinders.comp
SANSGuinier.comp
SANSLiposomes.comp
SANSNanodiscs.comp
SANSNanodiscsFast.comp
SANSNanodiscsWithTags.
SANSNanodiscsWithTagsFast
SANSPDB.comp
SANSPDBFAST.comp
SANSShells.comp
SANSSpheres.comp
McStas has a suite of SANS-models:
Try ellipsoidal and
cylindrical particles
-or-
Elliptic cylinders
Go for Nanodiscs and Liposomes
Also – SASmodels from SASview

## Slide 6
SANS spheres
Dilute, monodisperse, hard spheres in solution, with given contrast and radius

## Slide 7
SasView_models

## Slide 8
SasView_models